## CONTROLS SEQUENCE
EFFICIENCY MANITOBA - MANITOBA SCHOOLS LIGHTING INITIATIVE - LIGHTING CONTROLS INTAKE FORM
SCHOOL NAME: |  |  | SCHOOL ADDRESS:
Steps for filling out this form:
1. Applicants are to follow the prescriptive Interior Lighting Controls section (4.2.2) of the 2020 Manitoba Energy Code for Buildings (MECB).
PRE-APPROVAL (complete this section only when submitting for pre-approval):
2. Provide the Location/Zone of each unique interior area where control devices are installed.
3. Select MECB Space Type from drop down list.
4. Under the Device Details section columns, populate the following drop down lists: Control Device Type, Installation Type, Is Device Networked?, Does Device Provide Fixture-Level Control (LLLC)?
5. Under the Device Details section, manually enter the Control Device Quantity.
6. Under the Lighting Control Requirements section, select Yes if Manual Control is provided. Otherwise, select N/A.
7. Under the Lighting Control Requirements section, select Yes for Restricted to Manual ON OR Restricted to Partial Automatic ON. Otherwise, select N/A.
8. Under the Lighting Control Requirements section, select the Bi-Level control type. Reminder: As stated in Notes to Table 4.2.1.6 (2): Controls meeting the requirements for “Partial Automatic ON” in Sentence 4.2.2.1.(8) also comply with the requirements for “Bi-Level” lighting control in Sentence 4.2.2.1.(9).
9. Under the Lighting Control Requirements section, select Yes if the location/zone is a Sidelighted Area according to MECB 4.2.2.3. Otherwise, select N/A.
10. Under the Lighting Control Requirements section, select Yes if the location/zone is a Toplighted Area according to MECB 4.2.2.4 OR MECB 4.2.2.5. Otherwise, select N/A.
11. Under the Lighting Control Requirements section, select the Automatic Partial OFF control method according to the location/zone Space Type under MECB Table 4.2.1.6.
12. Under the Lighting Control Requirements section, select the Automatic Full OFF OR Scheduled Shut-off control method according the location/zone Space Type under MECB Table 4.2.1.6.
POST-INSTALL (complete this section after project installation is complete):
13. Under the Device Details section, manually enter data into the following columns: Control Sensor/System Model #, Total Wattage of All Fixtures Controlled per Device [W]. Note: for the Total Wattage of All Fixtures Controlled per Device [W] field, if lighting fixtures are DLC or Energy Star listed, provide tested watts rather than manufacturer's published watts.
14. Under the Control Parameters & Set-Points section, manually enter the Sensor Time-Out Period [minutes].
15. If Step Control (30-70%) is selected under the Lighting Control Requirements section, manually enter the set-point percentage in the Bi-Level Set-Point [%] column, under the Control Parameters & Set-Points section.
16. If Daylight Responsive Controls are selected under the Lighting Control Requirements section, manually enter the set-point percentages in the Daylight LOW Set-Point [%] AND the Daylight HIGH Set-Point [%] columns, under the Control Parameters & Set-Points section.
17. If high-end trim is incorporated in the lighting control strategy, manually enter the set-point percentage in the High-End Trim Set-Point [%] column, under the Control Parameters & Set-Points section.
18. If Scheduled Shut-off is selected under the Lighting Control Requirements section, select Scheduled ON AND Scheduled OFF times, under the Control Parameters & Set-Points section.
[8 empty] | Manual ON | [11 empty] | Full OFF
PRE-APPROVAL | [15 empty] | POST-INSTALL
Location/Zone | Space Type | Device Details |  |  |  |  | Lighting Control Requirements | [8 empty] | Device Details |  | Control Parameters & Set-Points
|  | Control Device Type | Installation Type | Is Device Networked? | Does Device Provide Fixture-Level Control (LLLC)? | Control Device Qty | Manual Control Provided? {MECB 4.2.2.1.(3)} | Restricted to Manual ON? {MECB 4.2.2.1.(6)} | Restricted to Partial Automatic ON? {MECB 4.2.2.1.(8)} | Bi-Level Control Provided? {MECB 4.2.2.1.(9)} | Daylight Responsive Controls for Sidelighting Provided? {MECB 4.2.2.1.(10)} | Daylight Responsive Controls for Toplighting Provided? {MECB 4.2.2.1.(13)} | Automatic Partial OFF Provided? {MECB 4.2.2.1.(16)} | Automatic Full OFF Provided? {MECB 4.2.2.1.(18)} | Scheduled Shut-off Provided? {MECB 4.2.2.1.(20)} | Control Sensor/System Model # | Total Wattage of All Fixtures Controlled per Device [W] | Sensor Time-Out Period [minutes] | Bi-Level Set-Point [%] | Daylight LOW Set-Point [%] | Daylight HIGH Set-Point [%] | High-End Trim Set-Point [%] | Scheduled ON [time] | Scheduled OFF [time]

## LUTs (hidden)
INTERIOR
Space Type | Control Device Type | Restricted to Manual or Partial Automatic ON | Bi-Level | INTERIOR Yes or No | Auto Partial OFF | Auto Full OFF | Scheduled Shut-off | INTERIOR Scheduled Time
Atrium -< 6 m in height | Manual On/Off | Yes | Continuous Dimming | Yes | Yes | Yes | Yes | 0:00
Atrium -≥ 6 m and ≤ 12 m in height | Manual Dimming | N/A | Step Control (30-70%) | No | Auto Full OFF | N/A | N/A | 0:15
Atrium -> 12 m in height | Occupancy |  | Partial Automatic ON |  | N/A |  |  | 0:30
Audience seating – permanent - for auditorium | Vacancy |  | N/A |  |  |  |  | 0:45
Audience seating – permanent - for gymnasium | Daylight Harvesting | [6 empty] | 1:00
Audience seating – permanent - for motion picture theatre | Dual Occupancy & Daylight | [6 empty] | 1:15
Audience seating – permanent - for performing arts theatre | Dual Vacancy & Daylight | [6 empty] | 1:30
Audience seating – permanent - for religious building | Time Scheduling Control | [6 empty] | 1:45
Audience seating – permanent - for sports arena | Scene / Multi-Level Control | [6 empty] | 2:00
Audience seating – permanent - other | [7 empty] | 2:15
Classroom/Lecture hall/Training room - other | [7 empty] | 2:30
Computer/Server room | [7 empty] | 2:45
Conference/Meeting/Multi-purpose room | [7 empty] | 3:00
Copy/Print room | [7 empty] | 3:15
Corridor/Transition area - other | [7 empty] | 3:30
Dining area - for cafeteria/fast food dining | [7 empty] | 3:45
Dining area - other | [7 empty] | 4:00
Dressing/Fitting room for performing arts theatre | [7 empty] | 4:15
Electrical/Mechanical room | [7 empty] | 4:30
Food preparation area | [7 empty] | 4:45
Laboratory - for classroom | [7 empty] | 5:00
Laundry/Washing area | [7 empty] | 5:15
Loading dock – interior | [7 empty] | 5:30
Lobby - for elevator | [7 empty] | 5:45
Lobby - for performing arts theatre | [7 empty] | 6:00
Lobby - other | [7 empty] | 6:15
Locker room | [7 empty] | 6:30
Lounge/Break room - other | [7 empty] | 6:45
Office - enclosed, ≤ 25 m2 | [7 empty] | 7:00
Office - enclosed, > 25 m2 | [7 empty] | 7:15
Office - open plan | [7 empty] | 7:30
Seating area – general | [7 empty] | 7:45
Stairwell | [7 empty] | 8:00
Storage room - < 5m2 | [7 empty] | 8:15
Storage room - ≥ 5 m2 | [7 empty] | 8:30
Vehicle maintenance area | [7 empty] | 8:45
Washroom - other | [7 empty] | 9:00
Workshop | [7 empty] | 9:15
Gymnasium/Fitness centre - exercise area | [7 empty] | 9:30
Gymnasium/Fitness centre - playing area | [7 empty] | 9:45
Healthcare facility - exam/treatment room | [7 empty] | 10:00
Healthcare facility - patient room | [7 empty] | 10:15
Healthcare facility - physical therapy room | [7 empty] | 10:30
Library - reading area | [7 empty] | 10:45
Library - stacks | [7 empty] | 11:00
Religious building - fellowship hall | [7 empty] | 11:15
Religious building - worship/pulpit/choir area | [7 empty] | 11:30
Sports arena – playing area - Class I facility | [7 empty] | 11:45
Sports arena – playing area - Class II facility | [7 empty] | 12:00
Sports arena – playing area - Class III facility | [7 empty] | 12:15
Sports arena – playing area - Class IV facility | [7 empty] | 12:30
12:45
13:00
13:15
13:30
13:45
14:00
14:15
14:30
14:45
15:00
15:15
15:30
15:45
16:00
16:15
16:30
16:45
17:00
17:15
17:30
17:45
18:00
18:15
18:30
18:45
19:00
19:15
19:30
19:45
20:00
20:15
20:30
20:45
21:00
21:15
21:30
21:45
22:00
22:15
22:30
22:45
23:00
23:15
23:30
23:45